{"text_format":"1","workbook":"xlsx","n_sheets":4,"sheets":["Input_data","Info","Reference","Copyright"],"not_rendered":{"charts":3,"images":8,"macros":1,"external_links":2,"defined_names":37,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Input_data","index":0,"n_rows":159,"n_cols":30,"rows_kept":159,"cut":false,"hidden":false,"merged":[]}
[]
[null,"Self impedance of lossless parallel plates with open or short boundary"]
[]
[null,null,"Parallel-plate",null,null,"Simulation"]
[null," ","input data:",null,null,"parameters:"]
[null,"#X_cells","unit [in m]","plane sep. ","Frequency","m_max","Fr_mmax"]
[null,20,{"$f":"IF(ul_sel=\"meter\",1,IF(ul_sel=\"cm\",0.01,IF(ul_sel=\"mm\",0.001,IF(ul_sel=\"micron\",0.000001,IF(ul_sel=\"inch\",0.0254,IF(ul_sel=\"mil\",0.0000254,1))))))","v":2.5399999999999999E-2},4.0000000000000001E-3,1000000000.0000014,15,{"$f":"0.5*m_max*300000000/(x_cells_*cell_size_*unit_length*SQRT(eps_rel))","v":4086014208.7893534}]
[null,"#Y_cells","cell-size","eps. rel.","F_max","n_max","Fr-nmax"]
[null,20,0.5,4.7,1000000000,15,{"$f":"0.5*n_max*300000000/(y_cells_*cell_size_*unit_length*SQRT(eps_rel))","v":4086014208.7893534}]
[]
[null,"boundary:","unit:",null,null,null,null,null,null,null,null,null,null,null," "]
[null,"short","inch"]
[null,null,null,null,null,null,null,null,null," "]
[]
[]
[null,null,null,null,null,null," "]
[null,null,null,null,null,null,null,null,null,null," "]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,"     Node for transfer"]
[null,null,null,null,null,"impedance surface"]
[null,null,null,null,null,"x1_node","y1_node"]
[null,null,null,null,null,0,0]
[null,null,"Pointer","F_min","F_steps","Use x1_node=0 and"]
[null,null,{"$f":"INDEX(OFFSET(Freq_anchor,0,1):OFFSET(Freq_anchor,F_steps_,1),MATCH(fr_,OFFSET(Freq_anchor,0,0):OFFSET(Freq_anchor,F_steps_,0),0),0)","v":0.13666314628868739},100000,100,"y1_node=0 for self"]
[null,"Freq","Zmag","L"]
[null,100000,3.6107020063913454E-5,{"$f":"C60/(2*PI()*B60)","v":5.7466107234900693E-11},null,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15]
[null,109749.87654930561,3.9627410222544897E-5,5.7466107636257095E-11,null,1.0000000000000001E-15,0.18778845066379915,0.16326288519411283,0.10279047316399767,6.9261373122102579E-2,7.953103542372103E-2,0.11670568703292895,0.15450923327780811,0.17798383510179089,0.18733486761503368,0.18928334211441639,0.18733486760906662,0.17798383510769883,0.15450923330439095,0.11670568706310486,7.953103543173945E-2,6.9261373103515766E-2,0.10279047314030124,0.16326288518814525,0.18778845068856712,1.0000000000000001E-15,0.17943108214283249,0.15369777842770352,9.3828509623734763E-2,1.0000000000000001E-15]
[null,120450.35402587822,4.3491034164799381E-5,5.7466108119692213E-11,null,1.0000000000000001E-15,0.16326288519411278,3.8602278039433661E-2,-0.16534072137379327,-0.28401378603509547,-0.25338624076191141,-0.12274237663831031,8.8559900468504673E-3,7.6532132161912458E-2,8.5629201315115241E-2,8.0544723861917245E-2,8.5629201304104618E-2,7.6532132177689602E-2,8.8559901143543916E-3,-0.12274237654819119,-0.25338624071440274,-0.28401378607165895,-0.16534072147182227,3.8602277951312415E-2,0.16326288519087415,1.0000000000000001E-15,0.40461832055159425,0.2991771609158887,0.15369777856918812,1.0000000000000001E-15]
[null,132194.1148466029,4.7731356789541611E-5,5.7466108701991633E-11,null,1.0000000000000001E-15,0.10279047316399764,-0.16534072137379324,-0.52544135050010565,-0.71701920998285518,-0.64266281796437064,-0.40585609479601747,-0.1956850000815355,-0.12494200751244219,-0.16029737255162749,-0.19137165637173209,-0.16029737258835633,-0.12494200751414072,-0.1956849999902345,-0.40585609464552563,-0.64266281786519919,-0.71701921002582403,-0.52544135067141717,-0.16534072155877996,0.10279047309994305,1.0000000000000001E-15,0.6168315017355237,0.40461832058670733,0.1794310822956785,1.0000000000000001E-15]
[null,145082.87784959396,5.2385105791197872E-5,5.746610940337332E-11,null,1.0000000000000001E-15,6.9261373122102537E-2,-0.28401378603509553,-0.71701920998285484,-0.91247603781266351,-0.77132920619918244,-0.45803228792490086,-0.23484565299913363,-0.23440110546110279,-0.36930244555228564,-0.44655919788823589,-0.369302445637889,-0.23440110551929938,-0.23484565292594928,-0.45803228774323723,-0.77132920605146083,-0.91247603783458375,-0.7170192101794951,-0.28401378627144441,6.9261373018984856E-2,1.0000000000000001E-15,0.84720282418550286,0.52303556853781896,0.21506250547150865,1.0000000000000001E-15]
[null,159228.27933410925,5.7492589781268858E-5,5.7466110248190082E-11,null,1.0000000000000001E-15,7.953103542372103E-2,-0.25338624076191119,-0.64266281796437097,-0.77132920619918288,-0.56360570838698398,-0.22574358153547905,-5.118807592099725E-2,-0.16088528456908333,-0.40938251010022175,-0.53470996500148438,-0.40938251023792527,-0.16088528469835681,-5.1188075896549376E-2,-0.22574358135908143,-0.56360570820930889,-0.77132920617996614,-0.64266281812820125,-0.25338624097970547,7.953103532739883E-2,1.0000000000000001E-15,1.0457235382273355,0.61734331408740661,0.23678516368928026,1.0000000000000001E-15]
[null,174752.8400007684,6.3098047427254057E-5,{"$f":"C66/(2*PI()*B66)","v":5.7466111265774999E-11},null,1.0000000000000001E-15,0.1167056870329289,-0.12274237663831039,-0.40585609479601747,-0.45803228792490086,-0.22574358153547902,8.5678393346776488E-2,0.19965668583756779,1.9548525322569673E-2,-0.28419389331076061,-0.43037384268878887,-0.28419389347156992,1.9548525155147937E-2,0.19965668582210191,8.5678393496192523E-2,-0.22574358135935751,-0.45803228787585543,-0.40585609490435803,-0.12274237679447832,0.11670568697737803,1.0000000000000001E-15,1.2183759170102024,0.70684853367063283,0.26402158428250144,1.0000000000000001E-15]
[null,191791.02616724887,6.925003063345541E-5,{"$f":"C67/(2*PI()*B67)","v":5.7466112491459649E-11},null,1.0000000000000001E-15,0.15450923327780813,8.8559900468505072E-3,-0.19568500008153533,-0.23484565299913351,-5.1188075920997105E-2,0.19965668583756793,0.29307017524891726,0.14539496557625733,-0.10562725611473282,-0.22682857366300807,-0.10562725624906635,0.14539496543792829,0.29307017523783724,0.19965668595998121,-5.1188075781686243E-2,-0.2348456529631065,-0.19568500016137846,8.8559899458794424E-3,0.15450923326639907,1.0000000000000001E-15,1.3296088482193706,0.76051319404224615,0.27543196673872222,1.0000000000000001E-15]
[null,210490.41445120206,7.6001825083109643E-5,5.7466113967801267E-11,null,1.0000000000000001E-15,0.17798383510179086,7.65321321619125E-2,-0.12494200751244212,-0.23440110546110296,-0.16088528456908346,1.954852532256951E-2,0.14539496557625739,0.12519388367016013,1.6935951152680973E-2,-4.2487969869186862E-2,1.6935951084657393E-2,0.1251938836189137,0.1453949656155939,1.9548525430789332E-2,-0.1608852844894591,-0.23440110548287948,-0.12494200761140831,7.6532132079795978E-2,0.17798383511535695,1.0000000000000001E-15,1.4020386095486532,0.80281711829359825,0.29031118733673555,1.0000000000000001E-15]
[null,231012.97000831601,8.3411911785070017E-5,5.7466115746060169E-11,null,1.0000000000000001E-15,0.18733486761503354,8.5629201315115269E-2,-0.16029737255162765,-0.36930244555228553,-0.40938251010022186,-0.28419389331075995,-0.10562725611473296,1.6935951152680859E-2,5.9063315748720153E-2,6.3444481959644611E-2,5.9063315749244713E-2,1.6935951194908653E-2,-0.10562725601394481,-0.28419389320513483,-0.40938251007598853,-0.36930244564149367,-0.16029737269294553,8.5629201223929655E-2,0.18733486763399779,1.0000000000000001E-15,1.4222251687798613,0.81334325861569601,0.29057508182126213,1.0000000000000001E-15]
[null,253536.44939701122,9.154447362364298E-5,5.7466117887979568E-11,null,1.0000000000000001E-15,0.18928334211441636,8.05447238619173E-2,-0.19137165637173215,-0.446559197888236,-0.53470996500148449,-0.43037384268878887,-0.22682857366300807,-4.2487969869186841E-2,6.3444481959644555E-2,9.471505991141238E-2,6.3444481989049756E-2,-4.2487969787057114E-2,-0.22682857353494873,-0.43037384258252737,-0.53470996499979606,-0.44655919800716709,-0.19137165653436311,8.0544723762636328E-2,0.18928334213259587,1.0000000000000001E-15,1.4281864723978479,0.82308123185591009,0.29677836359234305,1.0000000000000001E-15]
[null,278255.94022071251,1.0046995130027296E-4,5.7466120467929448E-11,null,1.0000000000000001E-15,0.18733486760906659,8.562920130410466E-2,-0.16029737258835614,-0.36930244563788889,-0.40938251023792527,-0.28419389347157004,-0.10562725624906631,1.6935951084657359E-2,5.9063315749244609E-2,6.3444481989049728E-2,5.9063315749769231E-2,1.693595112688517E-2,-0.10562725614827848,-0.28419389336594447,-0.40938251021369199,-0.36930244572709775,-0.16029737272967359,8.5629201212919059E-2,0.18733486762803073,1.0000000000000001E-15,1.4144068304687765,0.81559850830765712,0.29209257310923536,1.0000000000000001E-15]
[null,305385.55088334158,1.1026565348396329E-4,5.7466123575488791E-11,null,1.0000000000000001E-15,0.17798383510769883,7.653213217768963E-2,-0.12494200751414081,-0.23440110551929974,-0.1608852846983567,1.9548525155147958E-2,0.14539496543792824,0.1251938836189137,1.6935951194908559E-2,-4.2487969787057246E-2,1.6935951126884959E-2,0.12519388356766731,0.14539496547726499,1.954852526336762E-2,-0.16088528461873278,-0.23440110554107646,-0.12494200761310671,7.6532132095573163E-2,0.17798383512126476,1.0000000000000001E-15,1.4156096517886192,0.82030952161941983,0.29654591607676234,1.0000000000000001E-15]
[null,335160.26509388426,1.2101642645736245E-4,5.7466127318555781E-11,null,1.0000000000000001E-15,0.15450923330439095,8.8559901143544194E-3,-0.19568499999023473,-0.23484565292594958,-5.1188075896549327E-2,0.19965668582210183,0.29307017523783724,0.14539496561559395,-0.10562725601394474,-0.22682857353494881,-0.10562725614827843,0.14539496547726488,0.29307017522675666,0.19965668594451541,-5.1188075757238466E-2,-0.23484565288992199,-0.19568500007007786,8.855990013383332E-3,0.15450923329298188,1.0000000000000001E-15,1.4144068304641453,0.81559850830702418,0.2920925731096608,1.0000000000000001E-15]
[null,367837.9771828634,1.3281538906144462E-4,5.7466131827094365E-11,null,1.0000000000000001E-15,0.11670568706310483,-0.12274237654819138,-0.40585609464552547,-0.45803228774323734,-0.22574358135908132,8.5678393496192537E-2,0.19965668595998107,1.9548525430789391E-2,-0.284193893205135,-0.43037384258252731,-0.28419389336594442,1.9548525263367686E-2,0.19965668594451536,8.5678393645608669E-2,-0.22574358118295998,-0.45803228769419274,-0.40585609475386614,-0.12274237670435939,0.11670568700755414,1.0000000000000001E-15,1.428186472391888,0.82308123185427806,0.29677836359139359,1.0000000000000001E-15]
[null,403701.72585965553,1.4576473930818964E-4,5.746613725764684E-11,null,1.0000000000000001E-15,7.9531035431739436E-2,-0.25338624071440263,-0.64266281786519863,-0.7713292060514606,-0.56360570820930878,-0.2257435813593576,-5.1188075781686299E-2,-0.1608852844894593,-0.40938251007598875,-0.53470996499979617,-0.40938251021369221,-0.16088528461873283,-5.1188075757238383E-2,-0.22574358118296006,-0.56360570803163335,-0.77132920603224497,-0.64266281802902925,-0.25338624093219608,7.9531035335417319E-2,1.0000000000000001E-15,1.4222251687891625,0.81334325862425416,0.29057508182522512,1.0000000000000001E-15]
[null,443062.1457583881,1.5997663965260274E-4,5.7466143798768897E-11,null,1.0000000000000001E-15,6.926137310351578E-2,-0.28401378607165884,-0.71701921002582414,-0.91247603783458342,-0.77132920617996537,-0.45803228787585554,-0.23484565296310625,-0.23440110548287948,-0.36930244564149373,-0.44655919800716704,-0.36930244572709769,-0.23440110554107632,-0.23484565288992196,-0.45803228769419263,-0.7713292060322442,-0.91247603785650389,-0.71701921022246373,-0.28401378630800822,6.9261373000397933E-2,1.0000000000000001E-15,1.4020386095756714,0.80281711830757974,0.29031118733902322,1.0000000000000001E-15]
[null,486260.15800653544,1.7557418859828771E-4,5.7466151677577119E-11,null,1.0000000000000001E-15,0.10279047314030115,-0.16534072147182219,-0.52544135067141717,-0.7170192101794941,-0.64266281812820125,-0.40585609490435787,-0.19568500016137871,-0.12494200761140833,-0.16029737269294531,-0.191371656534363,-0.16029737272967368,-0.12494200761310686,-0.19568500007007797,-0.40585609475386625,-0.64266281802902903,-0.71701921022246395,-0.5254413508427288,-0.16534072165680924,0.1027904730762466,1.0000000000000001E-15,1.3296088482860917,0.76051319407955009,0.27543196675133186,1.0000000000000001E-15]
[null,533669.92312063102,1.9269248706062374E-4,5.7466161167634604E-11,null,1.0000000000000001E-15,0.16326288518814516,3.8602277951312519E-2,-0.16534072155877994,-0.28401378627144419,-0.2533862409797053,-0.12274237679447819,8.8559899458795759E-3,7.6532132079795895E-2,8.5629201223929641E-2,8.0544723762636369E-2,8.5629201212918934E-2,7.6532132095573135E-2,8.8559900133832956E-3,-0.12274237670435938,-0.25338624093219603,-0.28401378630800816,-0.16534072165680921,3.8602277863191224E-2,0.16326288518490645,1.0000000000000001E-15,1.2183759171026878,0.70684853371405165,0.26402158429108097,1.0000000000000001E-15]
[null,585702.08180566668,2.1147980873507583E-4,5.7466172598449971E-11,null,1.0000000000000001E-15,0.1877884506885672,0.16326288519087423,0.10279047309994312,6.9261373018984801E-2,7.95310353273989E-2,0.11670568697737801,0.15450923326639904,0.17798383511535684,0.1873348676339977,0.18928334213259584,0.18733486762803059,0.17798383512126478,0.15450923329298194,0.11670568700755406,7.9531035335417347E-2,6.9261373000397974E-2,0.10279047307624667,0.16326288518490642,0.18778845071333505,1.0000000000000001E-15,1.0457235383638317,0.61734331415915911,0.23678516371250136,1.0000000000000001E-15]
[null,642807.31172843219,2.3209888462260978E-4,5.7466186366918319E-11,null,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,0.8472028243253763,0.5230355686012339,0.21506250548303471,1.0000000000000001E-15]
[null,705480.23107186449,2.5472831285773133E-4,5.7466202951102907E-11,null,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.4144068304687758,1.4156096517886181,1.4144068304641444,1.4281864723918867,1.4222251687891625,1.4020386095756714,1.3296088482860913,1.2183759171026884,1.0457235383638317,0.8472028243253763,0.61683150190323943,0.40461832067863529,0.17943108232827079,1.0000000000000001E-15]
[null,774263.68268112722,2.7956410607627211E-4,5.7466222926834725E-11,null,1.0000000000000001E-15,3.8602278039433661E-2,0.28401378603509547,0.12274237663831031,7.6532132161912458E-2,8.0544723861917245E-2,7.6532132177689602E-2,0.12274237654819119,0.28401378607165895,3.8602277951312415E-2,1.0000000000000001E-15,0.81559850830765657,0.82030952161941917,0.81559850830702363,0.82308123185427784,0.81334325862425405,0.8028171183075794,0.76051319407954987,0.70684853371405143,0.61734331415915888,0.52303556860123379,0.40461832067863535,0.29917716097451513,0.15369777857630759,1.0000000000000001E-15]
[null,849753.43590864446,3.0682138975968691E-4,5.7466246987707471E-11,null,1.0000000000000001E-15,0.28401378603509553,0.91247603781266351,0.45803228792490086,0.23440110546110279,0.44655919788823589,0.23440110551929938,0.45803228774323723,0.91247603783458375,0.28401378627144441,1.0000000000000001E-15,0.29209257310923498,0.29654591607676206,0.29209257310966058,0.29677836359139331,0.2905750818252249,0.29031118733902306,0.27543196675133169,0.26402158429108097,0.23678516371250125,0.21506250548303468,0.17943108232827079,0.15369777857630754,9.3828509707746421E-2,1.0000000000000001E-15]
[null,932603.34688322013,3.3673626631131748E-4,5.7466275969161788E-11,null,1.0000000000000001E-15,0.12274237663831039,0.45803228792490086,8.5678393346776488E-2,1.9548525322569673E-2,0.43037384268878887,1.9548525155147937E-2,8.5678393496192523E-2,0.45803228787585543,0.12274237679447832,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15]
[null,1023531.0218990265,3.695678610701316E-4,5.7466310877495662E-11,null,1.0000000000000001E-15,7.65321321619125E-2,0.23440110546110296,1.954852532256951E-2,0.12519388367016013,4.2487969869186862E-2,0.1251938836189137,1.9548525430789332E-2,0.23440110548287948,7.6532132079795978E-2,1.0000000000000001E-15,0.19847865310614324,0.16473368256950138,0.18613863521956195,0.32001661317080438]
[null,1123324.0329780278,4.0560056806254204E-4,5.7466352924808266E-11,null,1.0000000000000001E-15,8.05447238619173E-2,0.446559197888236,0.43037384268878887,4.2487969869186841E-2,9.471505991141238E-2,4.2487969787057114E-2,0.43037384258252737,0.44655919800716709,8.0544723762636328E-2,1.0000000000000001E-15,0.25098875955215683,0.23871205840684678,0.28206681216113239,0.42508221604655738]
[null,1232846.7394420665,4.4514651504839098E-4,5.7466403571091596E-11,null,1.0000000000000001E-15,7.653213217768963E-2,0.23440110551929974,1.9548525155147958E-2,0.1251938836189137,4.2487969787057246E-2,0.12519388356766731,1.954852526336762E-2,0.23440110554107646,7.6532132095573163E-2,1.0000000000000001E-15,0.19847865313385324,0.16473368260873769,0.18613863527059399,0.32001661322770231]
[null,1353047.7745798074,4.8854826935023396E-4,5.746646457493152E-11,null,1.0000000000000001E-15,0.12274237654819138,0.45803228774323734,8.5678393496192537E-2,1.9548525430789391E-2,0.43037384258252731,1.9548525263367686E-2,8.5678393645608669E-2,0.45803228769419274,0.12274237670435939,1.0000000000000001E-15,9.9374927833503796E-2,1.5176075165968313E-2,1.4972046421038795E-2,9.7668530663241659E-2]
[null,1484968.2622544656,5.3618180808508295E-4,5.7466538054580777E-11,null,1.0000000000000001E-15,0.28401378607165884,0.91247603783458342,0.45803228787585554,0.23440110548287948,0.44655919800716704,0.23440110554107632,0.45803228769419263,0.91247603785650389,0.28401378630800822,1.0000000000000001E-15,6.4654408387892659E-2,6.8379780959673925E-2,0.14614564392259138,5.1381816892484208E-2]
[null,1629750.8346206448,5.8845977876667251E-4,5.7466626561525498E-11,null,1.0000000000000001E-15,3.8602277951312519E-2,0.28401378627144419,0.12274237679447819,7.6532132079795895E-2,8.0544723762636369E-2,7.6532132095573135E-2,0.12274237670435938,0.28401378630800816,3.8602277863191224E-2,1.0000000000000001E-15,0.14110496850325371,1.6924668074529678E-2,0.10775335185742545,5.3605417265389947E-3]
[null,1788649.5290574355,6.4583507883908477E-4,5.7466733169102378E-11,null,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15]
[null,1963040.6500402717,7.0880478556775684E-4,5.7466861579247034E-11,null,1.0000000000000001E-15,0.18778845066379915,0.16326288519411283,0.10279047316399767,6.9261373122102579E-2,7.953103542372103E-2,0.11670568703292895,0.15450923327780811,0.17798383510179089,0.18733486761503368,0.18928334211441639,0.18733486760906662,0.17798383510769883,0.15450923330439095,0.11670568706310486,7.953103543173945E-2,6.9261373103515766E-2,0.10279047314030124,0.16326288518814525,0.18778845068856712,1.0000000000000001E-15]
[null,2154434.6900318847,7.7791447088438551E-4,5.7467016251086235E-11,null,1.0000000000000001E-15,0.16326288519411278,3.8602278039433661E-2,0.16534072137379327,0.28401378603509547,0.25338624076191141,0.12274237663831031,8.8559900468504673E-3,7.6532132161912458E-2,8.5629201315115241E-2,8.0544723861917245E-2,8.5629201304104618E-2,7.6532132177689602E-2,8.8559901143543916E-3,0.12274237654819119,0.25338624071440274,0.28401378607165895,0.16534072147182227,3.8602277951312415E-2,0.16326288519087415,1.0000000000000001E-15]
[null,2364489.4126454084,8.5376293929612589E-4,5.7467202555844812E-11,null,1.0000000000000001E-15,0.10279047316399764,0.16534072137379324,0.52544135050010565,0.71701920998285518,0.64266281796437064,0.40585609479601747,0.1956850000815355,0.12494200751244219,0.16029737255162749,0.19137165637173209,0.16029737258835633,0.12494200751414072,0.1956849999902345,0.40585609464552563,0.64266281786519919,0.71701921002582403,0.52544135067141717,0.16534072155877996,0.10279047309994305,1.0000000000000001E-15]
[null,2595024.2113997373,9.3700743087142438E-4,5.7467426963459934E-11,null,1.0000000000000001E-15,6.9261373122102537E-2,0.28401378603509553,0.71701920998285484,0.91247603781266351,0.77132920619918244,0.45803228792490086,0.23484565299913363,0.23440110546110279,0.36930244555228564,0.44655919788823589,0.369302445637889,0.23440110551929938,0.23484565292594928,0.45803228774323723,0.77132920605146083,0.91247603783458375,0.7170192101794951,0.28401378627144441,6.9261373018984856E-2,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15]
[null,2848035.8684358033,1.0283693356570914E-3,5.7467697267396206E-11,null,1.0000000000000001E-15,7.953103542372103E-2,0.25338624076191119,0.64266281796437097,0.77132920619918288,0.56360570838698398,0.22574358153547905,5.118807592099725E-2,0.16088528456908333,0.40938251010022175,0.53470996500148438,0.40938251023792527,0.16088528469835681,5.1188075896549376E-2,0.22574358135908143,0.56360570820930889,0.77132920617996614,0.64266281812820125,0.25338624097970547,7.953103532739883E-2,1.0000000000000001E-15,0.17943108214283249,0.15369777842770352,9.3828509623734763E-2,1.0000000000000001E-15]
[null,3125715.849688238,1.1286404707263548E-3,5.7468022855493827E-11,null,1.0000000000000001E-15,0.1167056870329289,0.12274237663831039,0.40585609479601747,0.45803228792490086,0.22574358153547902,8.5678393346776488E-2,0.19965668583756779,1.9548525322569673E-2,0.28419389331076061,0.43037384268878887,0.28419389347156992,1.9548525155147937E-2,0.19965668582210191,8.5678393496192523E-2,0.22574358135935751,0.45803228787585543,0.40585609490435803,0.12274237679447832,0.11670568697737803,1.0000000000000001E-15,0.40461832055159425,0.2991771609158887,0.15369777856918812,1.0000000000000001E-15]
[null,3430469.2863149201,1.2386899764800341E-3,5.7468415036286978E-11,null,1.0000000000000001E-15,0.15450923327780813,8.8559900468505072E-3,0.19568500008153533,0.23484565299913351,5.1188075920997105E-2,0.19965668583756793,0.29307017524891726,0.14539496557625733,0.10562725611473282,0.22682857366300807,0.10562725624906635,0.14539496543792829,0.29307017523783724,0.19965668595998121,5.1188075781686243E-2,0.2348456529631065,0.19568500016137846,8.8559899458794424E-3,0.15450923326639907,1.0000000000000001E-15,0.6168315017355237,0.40461832058670733,0.1794310822956785,1.0000000000000001E-15]
[null,3764935.8067924702,1.359471894913073E-3,5.7468887432174955E-11,null,1.0000000000000001E-15,0.17798383510179086,7.65321321619125E-2,0.12494200751244212,0.23440110546110296,0.16088528456908346,1.954852532256951E-2,0.14539496557625739,0.12519388367016013,1.6935951152680973E-2,4.2487969869186862E-2,1.6935951084657393E-2,0.1251938836189137,0.1453949656155939,1.9548525430789332E-2,0.1608852844894591,0.23440110548287948,0.12494200761140831,7.6532132079795978E-2,0.17798383511535695,1.0000000000000001E-15,0.84720282418550286,0.52303556853781896,0.21506250547150865,1.0000000000000001E-15]
[null,4132012.4001153396,1.4920334994262693E-3,5.7469456453170575E-11,null,1.0000000000000001E-15,0.18733486761503354,8.5629201315115269E-2,0.16029737255162765,0.36930244555228553,0.40938251010022186,0.28419389331075995,0.10562725611473296,1.6935951152680859E-2,5.9063315748720153E-2,6.3444481959644611E-2,5.9063315749244713E-2,1.6935951194908653E-2,0.10562725601394481,0.28419389320513483,0.40938251007598853,0.36930244564149367,0.16029737269294553,8.5629201223929655E-2,0.18733486763399779,1.0000000000000001E-15,1.0457235382273355,0.61734331408740661,0.23678516368928026,1.0000000000000001E-15]
[null,4534878.5081285853,1.6375244535435064E-3,5.7470141867781649E-11,null,1.0000000000000001E-15,0.18928334211441636,8.05447238619173E-2,0.19137165637173215,0.446559197888236,0.53470996500148449,0.43037384268878887,0.22682857366300807,4.2487969869186841E-2,6.3444481959644555E-2,9.471505991141238E-2,6.3444481989049756E-2,4.2487969787057114E-2,0.22682857353494873,0.43037384258252737,0.53470996499979606,0.44655919800716709,0.19137165653436311,8.0544723762636328E-2,0.18928334213259587,1.0000000000000001E-15,1.2183759170102024,0.70684853367063283,0.26402158428250144,1.0000000000000001E-15]
[null,4977023.5643321145,1.7972068847558844E-3,5.7470967491002688E-11,null,1.0000000000000001E-15,0.18733486760906659,8.562920130410466E-2,0.16029737258835614,0.36930244563788889,0.40938251023792527,0.28419389347157004,0.10562725624906631,1.6935951084657359E-2,5.9063315749244609E-2,6.3444481989049728E-2,5.9063315749769231E-2,1.693595112688517E-2,0.10562725614827848,0.28419389336594447,0.40938251021369199,0.36930244572709775,0.16029737272967359,8.5629201212919059E-2,0.18733486762803073,1.0000000000000001E-15,1.3296088482193706,0.76051319404224615,0.27543196673872222,1.0000000000000001E-15]
[null,5462277.2176843453,1.9724664698655922E-3,5.7471962013530915E-11,null,1.0000000000000001E-15,0.17798383510769883,7.653213217768963E-2,0.12494200751414081,0.23440110551929974,0.1608852846983567,1.9548525155147958E-2,0.14539496543792824,0.1251938836189137,1.6935951194908559E-2,4.2487969787057246E-2,1.6935951126884959E-2,0.12519388356766731,0.14539496547726499,1.954852526336762E-2,0.16088528461873278,0.23440110554107646,0.12494200761310671,7.6532132095573163E-2,0.17798383512126476,1.0000000000000001E-15,1.4020386095486532,0.80281711829359825,0.29031118733673555,1.0000000000000001E-15]
[null,5994842.5031894147,2.1648246399083191E-3,5.7473160001323739E-11,null,1.0000000000000001E-15,0.15450923330439095,8.8559901143544194E-3,0.19568499999023473,0.23484565292594958,5.1188075896549327E-2,0.19965668582210183,0.29307017523783724,0.14539496561559395,0.10562725601394474,0.22682857353494881,0.10562725614827843,0.14539496547726488,0.29307017522675666,0.19965668594451541,5.1188075757238466E-2,0.23484565288992199,0.19568500007007786,8.855990013383332E-3,0.15450923329298188,1.0000000000000001E-15,1.4222251687798613,0.81334325861569601,0.29057508182126213,1.0000000000000001E-15]
[null,6579332.2465756852,2.3759520263288395E-3,5.7474603100679556E-11,null,1.0000000000000001E-15,0.11670568706310483,0.12274237654819138,0.40585609464552547,0.45803228774323734,0.22574358135908132,8.5678393496192537E-2,0.19965668595998107,1.9548525430789391E-2,0.284193893205135,0.43037384258252731,0.28419389336594442,1.9548525263367686E-2,0.19965668594451536,8.5678393645608669E-2,0.22574358118295998,0.45803228769419274,0.40585609475386614,0.12274237670435939,0.11670568700755414,1.0000000000000001E-15,1.4281864723978479,0.82308123185591009,0.29677836359234305,1.0000000000000001E-15]
[null,7220809.0183854699,2.6076832859980655E-3,5.7476341491372942E-11,null,1.0000000000000001E-15,7.9531035431739436E-2,0.25338624071440263,0.64266281786519863,0.7713292060514606,0.56360570820930878,0.2257435813593576,5.1188075781686299E-2,0.1608852844894593,0.40938251007598875,0.53470996499979617,0.40938251021369221,0.16088528461873283,5.1188075757238383E-2,0.22574358118296006,0.56360570803163335,0.77132920603224497,0.64266281802902925,0.25338624093219608,7.9531035335417319E-2,1.0000000000000001E-15,1.4144068304687765,0.81559850830765712,0.29209257310923536,1.0000000000000001E-15]
[null,7924828.9835391799,2.8620334614414648E-3,5.7478435639300075E-11,null,1.0000000000000001E-15,6.926137310351578E-2,0.28401378607165884,0.71701921002582414,0.91247603783458342,0.77132920617996537,0.45803228787585554,0.23484565296310625,0.23440110548287948,0.36930244564149373,0.44655919800716704,0.36930244572709769,0.23440110554107632,0.23484565288992196,0.45803228769419263,0.7713292060322442,0.91247603785650389,0.71701921022246373,0.28401378630800822,6.9261373000397933E-2,1.0000000000000001E-15,1.4156096517886192,0.82030952161941983,0.29654591607676234,1.0000000000000001E-15]
[null,8697490.0261778403,3.1412160550090529E-3,5.748095841094229E-11,null,1.0000000000000001E-15,0.10279047314030115,0.16534072147182219,0.52544135067141717,0.7170192101794941,0.64266281812820125,0.40585609490435787,0.19568500016137871,0.12494200761140833,0.16029737269294531,0.191371656534363,0.16029737272967368,0.12494200761310686,0.19568500007007797,0.40585609475386625,0.64266281802902903,0.71701921022246395,0.5254413508427288,0.16534072165680924,0.1027904730762466,1.0000000000000001E-15,1.4144068304641453,0.81559850830702418,0.2920925731096608,1.0000000000000001E-15]
[null,9545484.5666183475,3.4476630225793682E-3,5.7483997625176837E-11,null,1.0000000000000001E-15,0.16326288518814516,3.8602277951312519E-2,0.16534072155877994,0.28401378627144419,0.2533862409797053,0.12274237679447819,8.8559899458795759E-3,7.6532132079795895E-2,8.5629201223929641E-2,8.0544723762636369E-2,8.5629201212918934E-2,7.6532132095573135E-2,8.8559900133832956E-3,0.12274237670435938,0.25338624093219603,0.28401378630800816,0.16534072165680921,3.8602277863191224E-2,0.16326288518490645,1.0000000000000001E-15,1.428186472391888,0.82308123185427806,0.29677836359139359,1.0000000000000001E-15]
[null,10476157.527896656,3.7840469249589572E-3,5.7487659134104362E-11,null,1.0000000000000001E-15,0.1877884506885672,0.16326288519087423,0.10279047309994312,6.9261373018984801E-2,7.95310353273989E-2,0.11670568697737801,0.15450923326639904,0.17798383511535684,0.1873348676339977,0.18928334213259584,0.18733486762803059,0.17798383512126478,0.15450923329298194,0.11670568700755406,7.9531035335417347E-2,6.9261373000397974E-2,0.10279047307624667,0.16326288518490642,0.18778845071333505,1.0000000000000001E-15,1.4222251687891625,0.81334325862425416,0.29057508182522512,1.0000000000000001E-15]
[null,11497569.953977367,4.1533055149955049E-3,5.749207054432381E-11,null,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.4020386095756714,0.80281711830757974,0.29031118733902322,1.0000000000000001E-15]
[null,12618568.830660215,4.5586690876483057E-3,5.749738571434237E-11,null,1.0000000000000001E-15,0.27543196643772855,0.76051319373198867,1.329608847859074,1.9302781918409422,2.4326812106734943,2.7854676506412104,2.9297609760040157,2.9033066263582654,2.7399475411086724,2.5439542344757702,2.376133324779631,2.3200879396371672,2.3761333246985128,2.5439542343407382,2.7399475409777501,2.9033066262815157,2.9297609760443835,2.7854676508072287,2.4326812109808529,1.9302781922201842,1.3296088482860917,0.76051319407955009,0.27543196675133186,1.0000000000000001E-15]
[null,13848863.713938743,5.0036909816098931E-3,5.7503790193705342E-11,null,1.0000000000000001E-15,0.26402158399526521,0.70684853340421328,1.2183759167145518,1.7672446248305118,2.2398341981879426,2.5983218127807701,2.7854676507250677,2.8333087396581589,2.7589071622580366,2.6478022442698994,2.5399247918719934,2.5060106976364649,2.5399247918202299,2.6478022441864804,2.7589071621892667,2.8333087396393428,2.7854676508072287,2.5983218129633454,2.2398341984865549,1.7672446251793614,1.2183759171026878,0.70684853371405165,0.26402158429108097,1.0000000000000001E-15]
[null,15199110.829529351,5.4922816982086098E-3,5.7511507806415369E-11,null,1.0000000000000001E-15,0.23678516345053902,0.61734331389986896,1.0457235380369623,1.5088548657291572,1.9151053942913485,2.2398341983132957,2.4326812108825031,2.5195687578732571,2.505511921631117,2.4564050300326428,2.395240768022258,2.378083660955213,2.3952407679933261,2.4564050299885132,2.5055119216063697,2.5195687578906507,2.4326812109808507,2.2398341984865544,1.915105394553974,1.508854866024345,1.0457235383638317,0.61734331415915911,0.23678516371250136,1.0000000000000001E-15]
[null,16681005.372000603,6.0287472011350852E-3,5.7520808627196167E-11,null,1.0000000000000001E-15,0.21506250525300941,0.52303556840663912,0.84720282407392578,1.1997559114114855,1.5088548658186907,1.7672446250397027,1.9302781921290295,2.0228524331204314,2.0378848957773728,2.02711801040775,1.9962954255940908,1.9911443205485582,1.9962954255806926,2.0271180103887518,2.0378848957778088,2.0228524331511388,1.9302781922201835,1.767244625179361,1.508854866024345,1.1997559116325764,0.8472028243253763,0.5230355686012339,0.21506250548303471,1.0000000000000001E-15]
[null,18307382.802953698,6.6178320855902785E-3,5.753201865664314E-11,null,1.0000000000000001E-15,0.17943108214283257,0.40461832055159441,0.61683150173552392,0.84720282418550286,1.0457235382273351,1.2183759170102013,1.32960884821937,1.402038609548653,1.4222251687798606,1.4281864723978468,1.4144068304687758,1.4156096517886181,1.4144068304641444,1.4281864723918867,1.4222251687891625,1.4020386095756714,1.3296088482860913,1.2183759171026884,1.0457235383638317,0.8472028243253763,0.61683150190323943,0.40461832067863529,0.17943108232827079,1.0000000000000001E-15]
[null,20092330.02565049,7.2647684666070139E-3,5.754553157361859E-11,null,1.0000000000000001E-15,0.1536977784277036,0.29917716091588836,0.40461832058670733,0.52303556853781896,0.61734331408740606,0.70684853367063261,0.76051319404224593,0.8028171182935977,0.81334325861569545,0.82308123185590942,0.81559850830765657,0.82030952161941917,0.81559850830702363,0.82308123185427784,0.81334325862425405,0.8028171183075794,0.76051319407954987,0.70684853371405143,0.61734331415915888,0.52303556860123379,0.40461832067863535,0.29917716097451513,0.15369777857630759,1.0000000000000001E-15]
[null,22051307.399030477,7.9753316455762283E-3,5.7561823034877474E-11,null,1.0000000000000001E-15,9.382850962373479E-2,0.15369777856918818,0.17943108229567847,0.2150625054715086,0.23678516368928024,0.26402158428250133,0.27543196673872217,0.29031118733673567,0.29057508182126207,0.29677836359234311,0.29209257310923498,0.29654591607676206,0.29209257310966058,0.29677836359139331,0.2905750818252249,0.29031118733902306,0.27543196675133169,0.26402158429108097,0.23678516371250125,0.21506250548303468,0.17943108232827079,0.15369777857630754,9.3828509707746421E-2,1.0000000000000001E-15]
[null,24201282.647943843,8.755903887842309E-3,5.7581468108924569E-11,null,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15,1.0000000000000001E-15]
[null,26560877.829466887,9.6135480052332474E-3,5.760516258188788E-11]
[null,29150530.628251791,1.0556092916937787E-2,5.7633749069381827E-11]
[null,31992671.377973862,1.1592234004174928E-2,5.7668249126348462E-11]
[null,35111917.342151344,1.2731651940782655E-2,5.7709902890108838E-11]
[null,38535285.937105328,1.3985154862129305E-2,5.7760218254156542E-11]
[null,42292428.743895024,1.536485035750121E-2,5.7821032201102633E-11]
[null,46415888.336127833,1.7960658890723555E-2,6.1585111178861463E-11]
[null,50941380.14816384,1.974034906104678E-2,6.1674303332323315E-11]
[null,55908101.825122289,2.1702976903161704E-2,6.178238826193354E-11]
[null,61359072.734131791,2.3869551127090275E-2,6.1913534249808164E-11]
[null,67341506.577508286,2.6264236739439572E-2,6.2072907424582299E-11]
[null,73907220.335257858,2.8915074447764449E-2,{"$f":"C131/(2*PI()*B131)","v":6.2266947767165167E-11}]
[null,81113083.078968793,3.1854938903004053E-2,6.2503739173217822E-11]
[null,89021508.544503957,3.5122838445889398E-2,6.2793514123463786E-11]
[null,97700995.729922637,3.8765713276633133E-2,6.3149355278982926E-11]
[null,107226722.20103244,4.2840978082619094E-2,6.3588192278759466E-11]
[null,117681195.24349998,4.7420206199028973E-2,6.413225327458814E-11]
[null,129154966.50148854,5.259461761190394E-2,6.4811238775444948E-11]
[null,141747416.29268068,5.8483518089337529E-2,6.5665683627723198E-11]
[null,155567614.39304736,6.5247765738579905E-2,6.6752353846348556E-11]
[null,170735264.74706927,7.31122200923571E-2,6.8153297125577923E-11]
[null,187381742.28603864,8.2405180397579311E-2,6.9991833978327177E-11]
[null,205651230.83486539,9.363225998809617E-2,7.2462668710877251E-11]
[null,225701971.96339229,0.10762634510097845,7.5893288307260304E-11]
[null,247707635.5991714,0.1307666260239716,8.4019028613399666E-11]
[null,271858824.27329439,0.15680970661423832,9.1801470852228344E-11]
[null,298364724.02833426,0.19757046355792496,1.0538885247444606E-10]
[null,327454916.28777325,0.27712282930752791,1.3469172681207803E-10]
[null,359381366.38046318,0.54898938117300111,2.4312438510277117E-10]
[null,394420605.94376606,1.1849295184470423,4.7813777281005833E-10]
[null,432876128.10830641,0.14033220249729902,5.159573894735496E-11]
[null,475081016.2102803,5.2796525398924503E-3,1.7687147472961491E-12]
[null,521400828.7999692,6.1135756759256941E-2,1.8661377869869756E-11]
[null,572236765.93502247,0.11184481812607919,3.1107151311561797E-11]
[null,628029144.18342614,0.17264155120051378,4.3750766204234105E-11]
[null,689261210.43497074,0.23990419332646093,5.5395454812094451E-11]
[null,756463327.55462992,0.36209100375506825,7.6181582103943242E-11]
[null,830217568.13197565,0.966575675967283,1.8529515949502138E-10]
[null,911162756.11549056,0.25266205353639681,4.4133075547887846E-11]
[null,1000000000.0000014,0.13666314628868739,2.175061527033538E-11]

{"sheet":"Info","index":1,"n_rows":18,"n_cols":2,"rows_kept":18,"cut":false,"hidden":false,"merged":[]}
[null," File: Lossless_PlaneZ_open-short_vWExcel2007-2010-c02.xls  With updates, comments contact:"]
[null," "]
[]
[]
[]
[]
[]
[null,"Application information and hints:"]
[null,"1.,  This file uses dot (.) as separator between the integer and fractional parts of numbers.   Preferences in your Microsoft Excel options must be set or be changed accordingly."]
[null,"2., Enter your data in the top left area of the Time_harm worksheet.  Select the required input parameter (red) and enter your data in the units shown.  Click on the grey button with green 'Calculate Impedance' to initiate frequency sweep. There are two other green fields: 'boundary' and 'unit'; if you click on these, you can select the desired value from a drop-down list.                                                                                      "]
[null,"3.,  There is no error checking of most of your entered input data.  Physically invalid input (e.g., negative number of cells) may result in meaningless output."]
[null,"4.,   For explanatory information, see the worksheet \"Reference\". For suggested input data to explore, use the Workgroup Scenario toolbar."]
[null,"5.,  If Automatic Recalculation is selected in the Tools/Options menu, numerical and graphical outputs are automatically updated after each new entry."]
[null,"6.,  On slower computers, deselect Automatic Recalculation, and use Calc. Now (F9)."]
[null,"7.,  For best viewing, set the current window to display all input output fields and graphs.  To do so you may need to keep all toolbars, column/row headers as well as scroll bars OFF. With a screen resolution of 1024x768, the main worksheet is best viewed with a zoom ratio of 90%. "]
[null,"8.,  The calculation part of the worksheets can be viewed and changed if necessary below the input/output areas.  To navigate among cells, you can switch back on the Row and Column Headers and Scroll bars in the Tools/Options menu."]
[null," "]
[null," "]

{"sheet":"Reference","index":2,"n_rows":55,"n_cols":4,"rows_kept":55,"cut":false,"hidden":false,"merged":[]}
[]
[]
[null,null,null,"Perspective view of planes:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,"Top view of planes with location of connection points:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,"Expressions used:"]
["      Open boundary:"]
[]
[]
[]
[]
[]
["      Shorted boundary:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,"Reference:"]
[null,"K. R. Carver, J. W. Mink, \"Microstrip antenna technology,\" IEEE Transactions on Antennas and Propagation, AP-29, 1981, pp. 2-24."]

{"sheet":"Copyright","index":3,"n_rows":2,"n_cols":2,"rows_kept":2,"cut":false,"hidden":false,"merged":[]}
[]
[null,"This toolset is copyright, Istvan Novak. All rights reserved. You are hereby granted a limited right to run, copy, and reproduce the toolset for your personal, non-commercial purposes only. By using the file(s), you acknowledge not to run, show or disseminate in any way the toolset in full or in part at public or commercial presentations without the express written consent of the author."]