## Shielding
Complex shielding effectiveness and its components
| Thickness | Rel. perm | Conductance |  |  | Distance | Fmax
| [um] | at DC [-] | [S/m] | Material | Field type | [m] | [Hz]
| 35 | 1 | 58000000 | Copper | Far-field | 30000000000 | 10000000000
Relative permeability constants for polynomial frequency dependency
fmin[Hz] | Muc1 | Muc2 | Muc3 | Muc4 | Muc5 | Muc6 | Muc7
1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
Magn/ele
| N: | Incr.: | Epso[F/m] | Muo[H/m] | c[m/sec] | selector
| 50 | 1.5849 | 8.8419e-12 | 1.2566e-06 | 300000000 | 0 | [13 empty] | M u l t i p l e r e f l e c t i o n l o s s
[8 empty] | Shield imp |  | W a v e i m p e d a n c e |  |  |  |  | R e f l e c t i o n l o s s | [10 empty] | MATERIAL TABLE
| Relative permeability constants for polynomial frequency dependency Muc3: Relperm(f); Relative permeability constants for polynomial frequency dependency Muc5: Absorption; Relative permeability constants for polynomial frequency dependency Muc6: A_dB | Re,Im{Zs} | Zs_ |  |  |  |  | Zw_ |  |  |  | R_dB | 1/ |  |  |  |  | M_dB |  | Selector offset
| Series | [Hz] | [-] | [micron] | [-] | [dB] |  | [ohms] | [microhms] | 1/(bo*r ) | Den{hw} | [ohms] | [ohms] | [ohms] | [--] | [] | [] | [dB] | (A2(R2+I2)) | COS(2t/d) | SIN(-2t/d) |  |  | [dB] | [dB] | 2
| [-] | Freq | m | d | A_ | A |  | Re_Zs | Zs | X_ | Den_Zw | Re_Zw | Im_Zw | Zw | Den_R | Re_R | Im_R | R | Y_ | COS_ | SIN_ | Re_M | Im_M | M | T | Material | Conductivity | DC perm | muc1 | muc2 | muc3 | muc 4 | muc5 | muc 6 | muc 7
| 0 | 1 | 1 | 66085.4931 | 1.0005 | 0.0046002 |  | 2.609e-07 | 0.36896 | 0.0015915 | 1 | 376.9902 | -1.5198e-06 | 376.9902 | 0.29663 | 180623460.9291 | -180623462.7387 | 168.1458 | 1.531e-17 | 1 | -0.0010592 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Silver | 60900000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
| 1 | 1.5849 | 1 | 52493.5731 | 1.0007 | 0.0057913 |  | 3.2845e-07 | 0.46449 | 0.0010042 | 1 | 376.9907 | -3.8176e-07 | 376.9907 | 0.37344 | 143474534.1481 | -143474534.2089 | 166.1458 | 2.4257e-17 | 1 | -0.0013335 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Copper | 58000000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
| 2 | 2.5119 | 1 | 41697.1272 | 1.0008 | 0.0072908 |  | 4.1349e-07 | 0.58476 | 0.00063361 | 1 | 376.991 | -9.5894e-08 | 376.991 | 0.47013 | 113965942.7996 | -113965942.5116 | 164.1458 | 3.8432e-17 | 1 | -0.0016788 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Gold | 40600000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
| 3 | 3.9811 | 1 | 33121.2055 | 1.0011 | 0.0091786 |  | 5.2055e-07 | 0.73617 | 0.00039978 | 1 | 376.9911 | -2.4087e-08 | 376.9911 | 0.59186 | 90526388.1571 | -90526387.7994 | 162.1458 | 6.0884e-17 | 1 | -0.0021134 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Aluminum | 35400000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
| 4 | 6.3096 | 1 | 26309.1087 | 1.0013 | 0.011555 |  | 6.5534e-07 | 0.92679 | 0.00025224 | 1 | 376.9911 | -6.0505e-09 | 376.9911 | 0.74511 | 71907673.1243 | -71907672.7528 | 160.1458 | 9.6442e-17 | 1 | -0.0026607 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Nickel | 11600000 | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0
| 5 | 10 | 1 | 20898.0678 | 1.0017 | 0.014547 |  | 8.2502e-07 | 1.1668 | 0.00015915 | 1 | 376.9911 | -1.5198e-09 | 376.9911 | 0.93803 | 57118297.3469 | -57118296.9726 | 158.1458 | 1.5274e-16 | 0.99999 | -0.0033496 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Steel (430) | 5800000 | 500 | 500 | 0 | 0 | 0 | 0 | 0 | 0
| 6 | 15.8489 | 1 | 16599.9253 | 1.0021 | 0.018314 |  | 1.0386e-06 | 1.4689 | 0.00010042 | 1 | 376.9911 | -3.8176e-10 | 376.9911 | 1.1809 | 45370677.0967 | -45370676.7219 | 156.1458 | 2.4187e-16 | 0.99999 | -0.0042169 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Mumetall | 1740000 | 13000 | 13065.49 | 0.00029144 | 2.824 | 1.862e-07 | 0.00023559 | 3.4107e-12 | 0
| 7 | 25.1189 | 1 | 13185.7894 | 1.0027 | 0.023056 |  | 1.3076e-06 | 1.8492 | 6.3361e-05 | 1 | 376.9911 | -9.5894e-11 | 376.9911 | 1.4867 | 36039210.1681 | -36039209.7931 | 154.1458 | 3.8293e-16 | 0.99999 | -0.0053087 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Permalloy | 1740000 | 15000 | 15130.683 | -1.2992e-05 | -3.6525 | -6.0865e-09 | 0.0013432 | 9.4534e-11 | 7.6668e-08
| 8 | 39.8107 | 1 | 10473.8448 | 1.0033 | 0.029025 |  | 1.6461e-06 | 2.328 | 3.9978e-05 | 1 | 376.9911 | -2.4087e-11 | 376.9911 | 1.8716 | 28626962.3657 | -28626961.9907 | 152.1458 | 6.0606e-16 | 0.99998 | -0.0066833 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 9 | 63.0957 | 1 | 8319.6707 | 1.0042 | 0.036541 |  | 2.0724e-06 | 2.9308 | 2.5224e-05 | 1 | 376.9911 | -6.0505e-12 | 376.9911 | 2.3562 | 22739204.6062 | -22739204.2312 | 150.1458 | 9.5888e-16 | 0.99996 | -0.0084137 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 10 | 100 | 1 | 6608.5493 | 1.0053 | 0.046002 |  | 2.609e-06 | 3.6896 | 1.5915e-05 | 1 | 376.9911 | -1.5198e-12 | 376.9911 | 2.9663 | 18062392.3636 | -18062391.9886 | 148.1458 | 1.5164e-15 | 0.99994 | -0.010592 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 11 | 158.4893 | 1 | 5249.3573 | 1.0067 | 0.057913 |  | 3.2845e-06 | 4.6449 | 1.0042e-05 | 1 | 376.9911 | -3.8176e-13 | 376.9911 | 3.7344 | 14347468.3461 | -14347467.9711 | 146.1458 | 2.3968e-15 | 0.99991 | -0.013335 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 12 | 251.1886 | 1 | 4169.7127 | 1.0084 | 0.072908 |  | 4.1349e-06 | 5.8476 | 6.3361e-06 | 1 | 376.9911 | -9.5894e-14 | 376.9911 | 4.7013 | 11396599.3077 | -11396598.9327 | 144.1458 | 3.7855e-15 | 0.99986 | -0.016787 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 13 | 398.1072 | 1 | 3312.1205 | 1.0106 | 0.091786 |  | 5.2055e-06 | 7.3617 | 3.9978e-06 | 1 | 376.9911 | -2.4087e-14 | 376.9911 | 5.9186 | 9052640.713 | -9052640.338 | 142.1458 | 5.9737e-15 | 0.99978 | -0.021133 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 14 | 630.9573 | 1 | 2630.9109 | 1.0134 | 0.11555 |  | 6.5534e-06 | 9.2679 | 2.5224e-06 | 1 | 376.9911 | -6.0505e-15 | 376.9911 | 7.4511 | 7190768.22 | -7190767.845 | 140.1458 | 9.416e-15 | 0.99965 | -0.026604 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 15 | 1000 | 1 | 2089.8068 | 1.0169 | 0.14547 |  | 8.2502e-06 | 11.6676 | 1.5915e-06 | 1 | 376.9911 | -1.5198e-15 | 376.9911 | 9.3803 | 5711830.3294 | -5711829.9544 | 138.1458 | 1.4821e-14 | 0.99944 | -0.03349 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 16 | 1584.8932 | 1 | 1659.9925 | 1.0213 | 0.18314 |  | 1.0386e-05 | 14.6886 | 1.0042e-06 | 1 | 376.9911 | -3.8176e-16 | 376.9911 | 11.8091 | 4537068.2054 | -4537067.8304 | 136.1458 | 2.3287e-14 | 0.99911 | -0.042156 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 17 | 2511.8864 | 1 | 1318.5789 | 1.0269 | 0.23056 |  | 1.3076e-05 | 18.4919 | 6.3361e-07 | 1 | 376.9911 | -9.5894e-17 | 376.9911 | 14.8668 | 3603921.4813 | -3603921.1063 | 134.1458 | 3.6506e-14 | 0.99859 | -0.053063 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 18 | 3981.0717 | 1 | 1047.3845 | 1.034 | 0.29025 |  | 1.6461e-05 | 23.2799 | 3.9978e-07 | 1 | 376.9911 | -2.4087e-17 | 376.9911 | 18.7162 | 2862696.6911 | -2862696.3161 | 132.1458 | 5.7068e-14 | 0.99777 | -0.066783 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 19 | 6309.5734 | 1 | 831.9671 | 1.043 | 0.36541 |  | 2.0724e-05 | 29.3076 | 2.5224e-07 | 1 | 376.9911 | -6.0505e-18 | 376.9911 | 23.5623 | 2273920.9121 | -2273920.5371 | 130.1458 | 8.8895e-14 | 0.99646 | -0.084039 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 20 | 10000 | 1 | 660.8549 | 1.0544 | 0.46002 |  | 2.609e-05 | 36.8961 | 1.5915e-07 | 1 | 376.9911 | -1.5198e-18 | 376.9911 | 29.6632 | 1806239.6868 | -1806239.3118 | 128.1458 | 1.3785e-13 | 0.9944 | -0.10573 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 21 | 15848.9319 | 1 | 524.9357 | 1.0689 | 0.57913 |  | 3.2845e-05 | 46.4495 | 1.0042e-07 | 1 | 376.9911 | -3.8176e-19 | 376.9911 | 37.3438 | 1434747.2848 | -1434746.9098 | 126.1458 | 2.1257e-13 | 0.99112 | -0.13295 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 22 | 25118.8643 | 1 | 416.9713 | 1.0876 | 0.72908 |  | 4.1349e-05 | 58.4764 | 6.3361e-08 | 1 | 376.9911 | -9.5894e-20 | 376.9911 | 47.013 | 1139660.3808 | -1139660.0058 | 124.1458 | 3.2547e-13 | 0.98594 | -0.16709 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 23 | 39810.7171 | 1 | 331.2121 | 1.1115 | 0.91786 |  | 5.2055e-05 | 73.6175 | 3.9978e-08 | 1 | 376.9911 | -2.4087e-20 | 376.9911 | 59.1859 | 905264.5213 | -905264.1463 | 122.1458 | 4.9389e-13 | 0.97775 | -0.20978 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 24 | 63095.7344 | 1 | 263.0911 | 1.1423 | 1.1555 |  | 6.5534e-05 | 92.6789 | 2.5224e-08 | 1 | 376.9911 | -6.0505e-21 | 376.9911 | 74.5106 | 719077.272 | -719076.897 | 120.1458 | 7.4108e-13 | 0.96481 | -0.26294 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 25 | 100000 | 1 | 208.9807 | 1.1823 | 1.4547 |  | 8.2502e-05 | 116.6758 | 1.5915e-08 | 1 | 376.9911 | -1.5198e-21 | 376.9911 | 93.8033 | 571183.4829 | -571183.1079 | 118.1458 | 1.0963e-12 | 0.94442 | -0.32873 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 26 | 158489.3192 | 1 | 165.9993 | 1.2347 | 1.8314 |  | 0.00010386 | 146.8862 | 1.0042e-08 | 1 | 376.9911 | -3.8176e-22 | 376.9911 | 118.0914 | 453707.2705 | -453706.8955 | 116.1458 | 1.5932e-12 | 0.9124 | -0.4093 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 27 | 251188.6432 | 1 | 131.8579 | 1.304 | 2.3056 |  | 0.00013076 | 184.9187 | 6.3361e-09 | 1 | 376.9911 | -9.5894e-23 | 376.9911 | 148.6682 | 360392.5981 | -360392.2231 | 114.1458 | 2.2639e-12 | 0.86236 | -0.50629 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 28 | 398107.1706 | 1 | 104.7384 | 1.3968 | 2.9025 |  | 0.00016461 | 232.7989 | 3.9978e-09 | 1 | 376.9911 | -2.4087e-23 | 376.9911 | 187.1622 | 286270.1191 | -286269.7441 | 112.1458 | 3.1273e-12 | 0.78486 | -0.61968 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 29 | 630957.3445 | 1 | 83.1967 | 1.523 | 3.6541 |  | 0.00020724 | 293.0764 | 2.5224e-09 | 1 | 376.9911 | -6.0505e-24 | 376.9911 | 235.6232 | 227392.5412 | -227392.1662 | 110.1458 | 4.1688e-12 | 0.66643 | -0.74556 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 30 | 1000000 | 1 | 66.0855 | 1.6983 | 4.6002 |  | 0.0002609 | 368.9613 | 1.5915e-09 | 1 | 376.9911 | -1.5198e-24 | 376.9911 | 296.6321 | 180624.4187 | -180624.0437 | 108.1458 | 5.3137e-12 | 0.48954 | -0.87198 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 31 | 1584893.1925 | 1 | 52.4936 | 1.9479 | 5.7913 |  | 0.00032845 | 464.4948 | 1.0042e-09 | 1 | 376.9911 | -3.8176e-25 | 376.9911 | 373.4376 | 143475.1785 | -143474.8035 | 106.1458 | 6.4016e-12 | 0.23508 | -0.97198 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 32 | 2511886.4315 | 1 | 41.6971 | 2.3149 | 7.2908 |  | 0.00041349 | 584.7643 | 6.3361e-10 | 1 | 376.9911 | -9.5894e-26 | 376.9911 | 470.1301 | 113966.4881 | -113966.1131 | 104.1458 | 7.1835e-12 | -0.10777 | -0.99418 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 33 | 3981071.7055 | 1 | 33.1212 | 2.8769 | 9.1786 |  | 0.00052055 | 736.1747 | 3.9978e-10 | 1 | 376.9911 | -2.4087e-26 | 376.9911 | 591.8588 | 90526.9021 | -90526.5271 | 102.1458 | 7.3715e-12 | -0.51641 | -0.85634 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 34 | 6309573.4448 | 1 | 26.3091 | 3.7823 | 11.5552 |  | 0.00065534 | 926.789 | 2.5224e-10 | 1 | 376.9911 | -6.0505e-27 | 376.9911 | 745.1061 | 71908.1772 | -71907.8022 | 100.1458 | 6.7593e-12 | -0.88657 | -0.46259 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 35 | 10000000 | 1 | 20.8981 | 5.3377 | 14.5471 |  | 0.00082502 | 1166.7582 | 1.5915e-10 | 1 | 376.9911 | -1.5198e-27 | 376.9911 | 938.033 | 57118.7983 | -57118.4233 | 98.1459 | 5.379e-12 | -0.97845 | 0.2065 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 36 | 15848931.9246 | 1 | 16.5999 | 8.2354 | 18.3137 |  | 0.0010386 | 1468.8616 | 1.0042e-10 | 1 | 376.9911 | -3.8176e-28 | 376.9911 | 1180.9135 | 45371.1771 | -45370.8021 | 96.1459 | 3.5813e-12 | -0.47547 | 0.87973 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 37 | 25118864.3151 | 1 | 13.1858 | 14.2161 | 23.0556 |  | 0.0013076 | 1849.1872 | 6.3361e-11 | 1 | 376.9911 | -9.5894e-29 | 376.9911 | 1486.682 | 36039.7098 | -36039.3348 | 94.1459 | 1.9048e-12 | 0.56163 | 0.82739 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 38 | 39810717.0553 | 1 | 10.4738 | 28.2659 | 29.0253 |  | 0.0016461 | 2327.9887 | 3.9978e-11 | 1 | 376.9911 | -2.4087e-29 | 376.9911 | 1871.6218 | 28627.4619 | -28627.0869 | 92.1459 | 7.6363e-13 | 0.92101 | -0.38954 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 39 | 63095734.448 | 1 | 8.3197 | 67.1479 | 36.5406 |  | 0.0020724 | 2930.7641 | 2.5224e-11 | 1 | 376.9911 | -6.0505e-30 | 376.9911 | 2356.2323 | 22739.7041 | -22739.3291 | 90.1459 | 2.1446e-13 | -0.53103 | -0.84735 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 40 | 100000000 | 1 | 6.6085 | 199.571 | 46.0019 |  | 0.002609 | 3689.6135 | 1.5915e-11 | 1 | 376.9911 | -1.5198e-30 | 376.9911 | 2966.3207 | 18062.8919 | -18062.5169 | 88.146 | 3.8478e-14 | -0.3924 | 0.9198 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 41 | 158489319.2461 | 1 | 5.2494 | 786.4136 | 57.913 |  | 0.0032845 | 4644.9481 | 1.0042e-11 | 1 | 376.9911 | -3.8176e-31 | 376.9911 | 3734.3765 | 14347.9678 | -14347.5928 | 86.146 | 3.9273e-15 | 0.71889 | -0.69513 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 42 | 251188643.151 | 1 | 4.1697 | 4419.8615 | 72.9082 |  | 0.0041349 | 5847.6432 | 6.3361e-12 | 1 | 376.9911 | -9.5894e-32 | 376.9911 | 4701.3014 | 11397.0988 | -11396.7238 | 84.146 | 1.9705e-16 | -0.47154 | 0.88185 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 43 | 398107170.5535 | 1 | 3.3121 | 38841.6434 | 91.786 |  | 0.0052055 | 7361.7467 | 3.9978e-12 | 1 | 376.9911 | -2.4087e-32 | 376.9911 | 5918.5878 | 9053.1402 | -9052.7652 | 82.1461 | 4.0438e-18 | -0.65497 | -0.75565 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 44 | 630957344.4802 | 1 | 2.6309 | 599215.9526 | 115.5517 |  | 0.0065534 | 9267.89 | 2.5224e-12 | 1 | 376.9911 | -6.0505e-33 | 376.9911 | 7451.0606 | 7191.2677 | -7190.8927 | 80.1462 | 2.6929e-20 | 0.096632 | -0.99532 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 45 | 1000000000 | 1 | 2.0898 | 18773554.999 | 145.4709 |  | 0.0082502 | 11667.5822 | 1.5915e-12 | 1 | 376.9911 | -1.5198e-33 | 376.9911 | 9380.3295 | 5712.3298 | -5711.9548 | 78.1463 | 4.3479e-23 | -0.48748 | -0.87314 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 46 | 1584893192.4611 | 1 | 1.66 | 1435002134.3592 | 183.1371 |  | 0.010386 | 14688.6157 | 1.0042e-12 | 1 | 376.9911 | -3.8176e-34 | 376.9911 | 11809.1352 | 4537.5677 | -4537.1927 | 76.1464 | 1.1794e-26 | -0.24026 | 0.97071 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 47 | 2511886431.5096 | 1 | 1.3186 | 337127642423.921 | 230.5559 |  | 0.013076 | 18491.8716 | 6.3361e-13 | 1 | 376.9911 | -9.5894e-35 | 376.9911 | 14866.8204 | 3604.421 | -3604.046 | 74.1466 | 3.3865e-31 | -0.94935 | -0.31421 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 48 | 3981071705.535 | 1 | 1.0474 | 325561668930622 | 290.2527 |  | 0.016461 | 23279.8871 | 3.9978e-13 | 1 | 376.9911 | -2.4087e-35 | 376.9911 | 18716.218 | 2863.1962 | -2862.8212 | 72.1468 | 5.7552e-37 | -0.65266 | 0.75765 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 49 | 6309573444.802 | 1 | 0.83197 | 1.8635e+18 | 365.4065 |  | 0.020724 | 29307.6414 | 2.5224e-13 | 1 | 376.9911 | -6.0505e-36 | 376.9911 | 23562.3225 | 2274.4204 | -2274.0454 | 70.147 | 2.7839e-44 | -0.77438 | -0.63272 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 50 | 10000000000 | 1 | 0.66085 | 1.0022e+23 | 460.0195 |  | 0.02609 | 36896.1346 | 1.5915e-13 | 1 | 376.9911 | -1.5198e-36 | 376.9911 | 29663.2066 | 1806.7392 | -1806.3642 | 68.1473 | 1.5252e-53 | 0.62883 | 0.77754 | #VALUE! | #VALUE! | #VALUE! | #VALUE!

## Info
File: Shield_v-w02.xls For updates and with comments contact:
Application information and hints:
1., Enter your data in the top rectangular area of worksheet. Select the required (red) parameter and enter your data in the units shown. Blue fields are derived parameters, DO NOT overwrite them.
2., There is no error checking of your entered input data. Physically invalid input (e.g., negative distance) may result in meaningless output or numerical error.
3., The 'Material' and 'Field type' input fields have drop-down boxes, from which you can select one of the available choices. When you select 'Far field' source type, the 'Distance' entry should be more than the near-field boundary at the lowest frequency.
4., For explanatory information, see the worksheet "Reference". For suggested input data to look at, use the Workgroup Scenario toolbar.
5., If Automatic Recalculation is selected in the Tools/Options menu, numerical and graphical outputs are automatically updated after each new entry.
6., On slower computers, deselect Automatic Recalculation, and use Calc. Now (F9).
7., The input and output fields, as well as graph styles and colors have been set for convenient viewing on both color and monochrome VGA monitors. For each monitor type you can customize the colors, zoom percentage and graph details for best viewing.
8., For best viewing, set the current window to display all input and output fields. To do so you may need to switch off all toolbars and switch to Full Screen.
9., This file uses dot (.) as separator between the integer and fractional parts of numbers. Preferences in your Microsoft Excel installation must be set accordingly in older version of Excel. In newer versions, you can change the fractional and thous
10., The calculation part of the worksheet can be viewed and changed if necessary below the input/output areas. To navigate among cells, you can switch back on the Row and Column Headers and Scroll bars in the Tools/Options menu.
11., This spreadsheet has been tested with Microsoft Windows Excel 2003 and later.

## Reference
Expressions used on the worksheets
The complex impedance of a metallic shield material.
In the approximation, good conductor is assumed.
The real part of the impedance is the attenuation (a),
its inverse is the skin depth (d):
The plane-wave reflection coefficient at the incident (i)
and transmitted (t) sides:
The impedance of an incident plane wave in vacuum is constant: Zw = 120p.
The impedance of a near field from magnetic source ( Zwm) and electric source ( Zwe):
The shielding effectiveness is the ratio of incident field strength (Ei) and transmitted field strength (Et).
SE is the product of Reflection loss (R), Multiple reflection loss (M), and Absorption loss (A):
Reference: Clayton Paul, "Introduction to Electromagnetic Compatibility, John Wiley, 1992